- 8 -

SCHEME 1

ANTI-INFLAMMATORY  ACTION

Microcirculation

activation

PG level

alteration

Osmotic pressure

normalizing

Tissue

edema

reduction

SOD and catalase

reactivation

POL level

decreasing

ANALGESIC ACTION

Neuron

metabolism

activation

Increase of endorphyne

level

Increase of pain perception

threshold

REFLEXOGENIC ACTION

LIGHT

QUANTUM

Irritation of nervous endings

Excitation of nervous centres

Stimulation of physiological functions

STIMULATION OF REPARATION

Acceleration of defect epithelization

Accumulation of АТP

Cell metabolism activation

Increased proliferation of fibroblasts and other cells

Synthesis of proteins and collagen

Capillary neoformation

IMMUNE RESPONSE STIMULATION

Increased proliferation of immune cells

Increase of immune globulins

Increase of immune cels maturation

Increase of prostaglandin E and F level

- 27 -

1) Preoperative irradiation of planned operation field in contact and liable mode.

Irradiation parameters:

- power density 25 (50 mW/cm2;

- specific dose 1  ( 2 J/cm2;

- that corresponds to laser irradiation at 30 mW (continuos mode) via tip K300 with the exposure of 20 ( 40 seconds per a field.

Total irradiation time is 3 ( 5 minutes per a session. Procedures are carried out daily starting 3 days prior to operation.

2) Intraoperative irradiation during wound suturing in layers in distant liable mode.

Irradiation parameters:

- power density 50 (100 mW/cm2;

- specific dose 1 ( 2 J/cm2;

that corresponds to laser irradiation at 100 mW (continuous mode) via tip K30 or K1 with fiber optic to target distance equal 2 cm (irradiation spot diameter is 1 cm) with the exposure of 20 seconds per a field. Total irradiation time for a layer is up to 2 minutes.

3) Postoperative irradiation in distant liable mode to achieve analgesic, biostimulating and anti-inflammatary effect.

Irradiation parameters:

- power density 10 (15 mW/cm2;

- specific dose 0.5  ( 1 J/cm2;

- that corresponds to laser irradiation at 15 (20 mW (continuous mode) via tip K30 or K1 with fiber optic to target distance equal 2 cm (irradiation spot diameter is 1 cm) with the exposure of 1 ( 2 minutes per a field.

High penetrability of infrared laser irradiation allows to perform irradiation through dressing materials. In this case out put power should be increased up to 50 mW (irradiation through two layers of bandage or gauze) or to 100 mW (irradiation through 4 layers of bandage or gauze).

# Text boxes

- 3 -

1. INTRODUCTION

Creation of optical quantum generators - lasers- is concerned to the most important scientific-and-technical achievements of the XXth century.

Laser irradiation is electromagnetic irradiation belonging to optic spectrum (light), which is coherent, monochromatic, polarized and with a definite direction of irradiation flow, all these allow to provide strictly determined power of irradiation targeted on the surface of irradiated object. That is why laser therapy — an impact on biological object by low intensive laser irradiation with therapeutic purposes — may be considered a part of physiotherapy, in particular, light therapy (phototherapy).

Phototherapy has sufficient historical background. Since Hippocrates’ times “red rooms” (where windows, walls, floor and ceiling were covered with red textile) were used for treatment of black variola. Oriental medical schools widely used red dressing for managing wounds and ulcers. Indian medicine recommended to use water kept under sun light in bottles made of red glass to treat tooth-ache. Chinese medicine uses light of smoldering wormwood cigar.

Thus, laser reflexo- and physiotherapy is a method to realize medical experience of many centuries on the basis of modern technical achievements.

Laser therapy has the following advantages over the other physiotherapeutic methods regarding its action on a human organism:

- according to its energetic parameters it provides neither harmful, nor disturbing impact on biosystem, but at the same time this energy is sufficient to activate living processes within an organism;

- in contrary to many other therapeutic physical factors, laser therapy allows precise regulation of irradiation parameters and provides correct dosage during every session;

- laser therapy is indicated and is very effective for a large list of pathologies;

- laser therapy is well combined with other known methods of therapy and increases their efficacy;

- simplicity and safety of procedures, small dimensios of used laser apparatuses and specially designed fiber optic instruments allow to apply laser therapy at ordinary dentist’s office incorporating the new method in the arsenal of traditionally used therapeutic methods.

- 32 -

- Kunin A.A., Kharin O.V. Application of fluorine vanish and He-Ne light in prophylactics of temporary teeth caries. Stomatology, 1991, ¹ 4, p.71-72 (in Russian).

- Makhmudova G.Kh. Laser activation in medicine. Alma-Ata: Kasakhstanian State University, 1992, P.249 (in Russian).

- Mukashev T.K. Application of He-Ne laser irradiation in complex treatment and prophylactics teeth caries in children. Stomatology, 1991, ¹ 2, p.67-69 (in Russian).

- Pavlov A.F., Volkov V.E., Tzilkov V.E. et al. Application of laser methods of treatment in stomatology and surgery: Practical recommendations.-Cheboksary, 1985, p.29 (in Russian).

- Pavlov A.F., Prokhonchukov A.A., Ivanov V.S. et al. Reflexotherpy of alveolitis by He-Ne laser light. Stomatology, 1989, ¹ 6, p.6-9 (in Russian).

- Paschaev K.P., Sharifov K.N., Voronina L.A. Combined action of laser irradiation and carioprophylactic remedies on tooth enamel // Health Care of Tadgikistan-1991.- ¹ 6.-p.87-88 (in Russian).

- Prokonchukov A.A., Alexandrov M.T., Bugai E.P. Application of He-Ne laser in surgical stomatology: Practical recommendations-Moscow, 1982, p.27 (in Russian).

- Prokhonchukov A.A., Alexandrov M.T., Bugai E.P. Management of parodontosis and oral mucosa diseases with He-Ne laser irradiation: Practical recommendations.-Moscow, 1980, P.19 (in Russian).

- Prokhonchukov A.A., Zhizhina N.A. Lasers in stomatology. Moscow: Meditzina, 1986, P.95 (in Russian).

- Samoilenko A.V. Use of different kinds of laser irradiation in complex management of parodontitis // Thesis of Crimean Medical Institute.-1990.-V.128.-p.108-111 (in Russian).

- Soloviev A.A. Practical recommendations on lasers applications in science and tecnique.-Omsk, 1988 (in Russian).

- Somov K.T., Stern N.V. Laser therapy of periodontitis // Actual problems of odontology.-Moscow, 1990.- p.128-129 (in Russian).

- Stadin G.I., Kitzmanuk Z.D., Demochko V.B., Zukerman I.Ya. Intravascular blood laser irradiation in management of purulent and necrotic processes in maxillo-facial region. Stomatology, 1991, p.44-45.

- 5 -

occurring in an organism during an interaction with laser irradiation. The photophysical reactions are primary related to heating of irradiation object and heat distribution in biotissues. The photochemical reactions related to electrons shift within different orbits in atoms of absorbing light substance can be realized in substance photoionization, its photooxidation or photoreduction, photodissociation of molecules, their transformation - photoisomerization, or in direct destruction of substance - photolysis.

In the different ranges of spectrum light provides a specific influence upon a biological object. The light in the visible range of spectrum is primary absorbed by chromatophore groups in the protein molecules, partly by oxygen. The most important role here is belonged to hemoglobin, melanin and enzyme series. In the nearest infrared (IR) range the light is primary absorbed in an organism by protein and oxygen molecules. Lasers of red (wavelength is 632 nm) and near infrared (wavelength is 760-1200 nm) ranges of spectrum have demonstrated the widest application in laser therapy.

The mechanism of biological LLI influence and its treatment-and-stimulating effect were studied by series of authors with electrophysiologic, histological and biological tools of investigation.

So, in experiments of N. Mikhaylov et al. (1985) on LLI influence upon an organism it was demonstrated the universal character of resonance interaction between weak irritants and skin zones, on which sympathetic and trophic nervous formations are projected. All experiments showed the uniformity of processes regarding their physiological significance, prominence and velocity. When absorbed by tissues LLI leads to destruction of connective tissue structures with free energy release, in muscle and nervous tissues opposite reaction takes place. Energy saturated cells within irradiated zone obtain semiconductor's properties. Absorption of red laser light by cells is conditioned by its resonance accordance with cells membranes, and, first of all, mitochondrial membranes of neurons, as their activation threshold is located in red and near infra-red part of light spectrum.

The analysis of changes in intracellular biochemical processes occurring as a result of LLI, shows the stimulation of glucose oxidation phosphorylation and ATP generation increase induced by this impact. That is related to activation of mitochondrial enzymes (cytochromes) and subsequent acceleration of electron migration down respiratory chain that raises the energy potential of a cell.

- 30 -

Exposure for point irradiation should be determined individually regarding reduction or resolution of pain.

Procedures are performed once or twice per day.

- 7 -

- analgesic action of LLI, although not so expressed, as of many other physical factors, is explained by reduction of sensitivity of nervous endings, i.e. pain receptors as a result of tissue edema resolution, and due to increase of endorphin and encephalon production in structures of peripheral nervous system (A.V. Maksimov, et al., 1993);

- reduced microbial contamination of infected wounds under LLI is explained by several factors: improvement of regional perfusion within pathological focus, increased leukocyte chemotaxis to inflammatory zone and activation of proteolytic enzymes which destroy microbes (N.I. Gubacheck, 1984).

Besides the stated effects LLI stimulates natural non-specific immunity of an organism (phagocytosis, lysosome activity etc.), and provides desensitizing action (A.A. Imanbaev, 1991).

All treatment and stimulating effects develop gradually and may manifest only after 5-15 performed procedures due to the dose accumulation phenomenon.

3. THE LASER APPARATUS

Modern laser technique has an enormous arsenal of various devices. The construction of therapeutic apparatus applied for laser physical and reflex therapy usually incorporate gas He-Ne and diode lasers based on gallium arsenide. He-Ne lasers emit red light (wavelength is 632 nm) that is most effectively absorbed by blood cells, mucous membranes and skin. Diode lasers generate IR-irradiation (wavelength is 760-1200 nm), having less, compared to red light, absorption coefficient, it has larger penetration depth into tissues - up to 7 cm. The additional advantage of diode lasers is their diminutiveness, low price and low power supply, these allow to design portable, convenient in operation and available in price models of therapeutic apparatuses.

The apparatus "SOFT-LASER SL-202" is permitted for practical application by Ministry of Health Care of the Russian, have modern design, they are easy and comfortable in use. The construction of laser irradiators provides two types of tissue irradiation: contact and non-contact mode and allow to use easy attachable fiber optic instruments.

- 28 -

Total irradiation time is up to 20 minutes.

8.3. Corporal methods of laser therapy in stomatologic practice.

8.3.1. Transmucous blood irradiation.

Nonspecific regulation of processes of biological importance provided during laser irradiation of blood is explained by the following reasons. Laser irradiation directly alters the structure of watery matrix of biologic liquids (blood, lymph, plasma) and that causes:

- changes in intermolecular interactions (lipid-water, protein-water, lipid-protein, conformational transformations in protein molecules);

- changes of physical and chemical properties of biologic liquids (rheology, diffusion, phase stability);

- changes of mechanic, transport, structural and other properties of cell and organelle membranes;

- changes of biochemical reactions activity.

As a result of all these processes caused by low intensive laser irradiation in clinic pathological changes are resolving due to detoxicating effect, thrombolitic action, stimulation of tissue regeneration, increase of cell resistance to pathogenic agents, stimulation of general and local factors of immune defense, reduction of microbes pathogenicity and increase of their sensitivity to antibiotics, lipid exchange normalizing and some other therapeutic effects.

Taking into consideration the mechanism of laser irradiation action blood irradiation is indicated for managing: stomatitis, gingivitis, parodontitis, multiformous exudative erythema, purulent and necrotic processes, extensive surgical interventions in maxillo-facial region and other conditions associated with the development of inflammatory process, immune disorders and poor tissue regeneration.

Methods  of  blood  irradiation  may  be  divided  into  invasive  and non-invasive  ones. The  first  group  includes intravascular  and extracorporal  blood  irradiation,  the  second   includes   supravascular (transcutaneous  and  transmucous)  blood  irradiation. As to  stomatologic   pathology   transmucous   blood   irradiation   is  the  most reasonable   method   taking   into   consideration   the   localization   of

- 9 -

Table 3 represents list of instrument working tips, their scheme and indicatrices of laser irradiation.

TABLE 3

| TIP DESIGNA-TION |  | INDICATRIX OF IRRADIATION | IRRADIATED SQUARE*, CM2 | APPLICATION |
| --- | --- | --- | --- | --- |
| K1 |  | conical | 0.0013 | therapy |
| K30 |  | conical | 0.03 | therapy, surgery |
| K80 |  | conical | 0.08 | therapy |
| K140 |  | conical | 0.14 | therapy |
| K300 |  | conical | 0.30 | therapy |
| Ö1400 |  | cylindrical | 1.4 | surgery |
| T390 |  | toroidal | 0.39 | surgery |
| T1570 |  | toroidal | 1.57 | therapy |

*-when applied in contact mode

Both fiber optic instruments and tips become contaminated during use. To clean instruments the following solution should be made: 17 ml of 4 - 6% hydrogenium peroxide, 5 - 10 g of a detergent (like "Profress", "Aina", "Astra", "Lotos" etc.) and 978 ml of water. Solution temperature should be 40(45(C. After cleaning instrument should be rinsed in running water and dried at room temperature. Then instruments are sterilized by cool method by plunging their working parts in 70(-alcohol solution of chlorgexidine with exposure not less than 30 minutes. Before each procedure instrument should be wiped with a gauze soaked in 70( alcohol. Contamination of fiber optic tips (built-in into emitter AL-010 or a fiber optic tip) may lead to decreased output power of the whole complex. To remove dirt it is advisable to wipe them with soft cloth soaked in 70( alcohol. It is strictly prohibited to use sharp instruments for cleaning. Laser apparatuses should be treated carefully to avoid their damage.

- 26 -

Procedures are carried out daily.

Total irradiation time should not exceed 15 minutes per a session.

Number of sessions — 7 ( 10.

Irradiation mode is stable or liable.

In cool period laser therapy is performed in courses of 10 procedures. Total number of courses is 4  (7 with intervals between them from 2  ( 4 weeks to 6  ( 12 months.

8.2.4. Arthritis and arthrosis of temporomandibular joint.

Irradiation is introduced percutaneously to the region of temporomandibular joint. Irradiation mode is non-contact, stable.

Irradiation parameters:

- power density 0.5 (1.5 mW/cm2;

- specific dose 0.05  ( 0.15 J/cm2;

- that corresponds to distant laser irradiation at 30 mW via tip K30 or K1 along the projection of pathologic focus with the distance between irradiating tip and skin surface equal to 4 ( 5 cm with the exposure of 1 ( 2 minutes.

Irradiation may be modulated by frequency 50 (100 Hz, in this case exposure should be increased to 2 ( 4 minutes. Pain associated with mouth opening significantly reduces usually after 2 - 3 sessions, and after 5 - 7 procedures this symptom is completely resolved. Palpation of articular tissues becomes significantly less tender. To stabilize the achieved therapeutic effect it is advisable to undertake supporting therapy with the same parameters up to 10 - 15 procedures.

8.2.5. Prophylactics of postoperative infectious and inflammatory complications

Laser therapy is an effective prophylactic method for postoperative infectious and inflammatory complications after maxillofacial surgery. Three basic methods of laser therapy are used for this purpose:

- 11 -

(cm2) it would be very easy to calculate necessary laser power P (mW) and exposure time per a field Tn (sec)

P=KlossWSn=2WSn,

where Kloss=2 - instrument induced loss coefficient.

Tn=1000 D/W

Square of pathologic focus S0 usually exceeds the square irradiated by a tip Sn. That is why a session should be carried whether by sequential irradiation of each field with exposure Tn for a field or in contact liable mode (see Fig. 7.2.).

In any case the total time of irradiation T0 may be calculated as following:

T0=TnS0/Sn

Calculation may be significantly simplified if to use Tables 3,4 and 5.

TABLE 3

TABLE FOR CALCULATION

power density of laser irradiation W (mW/cm2) in distant mode depending upon laser out put power P (mW) and diameter of light spot on irradiated surface D (cm), or fiber optic tip to target distance L (cm); tip loss coefficient Kloss=2 has been taken into account

| Power density of laser irradiation W, mW/cm2 |
| --- |
| L | D | Power of laser irradiation P, mW |
| cm | cm | 5 | 10 | 15 | 20 | 30 | 40 | 50 | 60 | 100 |
| 0.4 | 0.2* | 80 | 160 | 240 | 320 | 480 | 640 | 800 | 960 | 1600 |
| 1 | 0.5 | 12.5 | 25 | 37.5 | 50 | 75 | 100 | 125 | 150 | 250 |
| 2 | 1.0 | 3.2 | 6.4 | 9.5 | 12.7 | 19 | 25.4 | 31.7 | 38.1 | 63.5 |
| 3 | 1.5 | 1.5 | 2.9 | 4.4 | 5.8 | 8.7 | 11.6 | 14.5 | 17.4 | 29 |
| 4 | 2.0 | 0.8 | 1.6 | 2.4 | 3.2 | 4.8 | 6.4 | 8 | 9.6 | 16 |
| 6 | 3.0 | 0.7 | 1.4 | 2.1 | 2.8 | 4.2 | 5.6 | 7 | 8.4 | 14 |
| 8 | 4.0 | 0.2 | 0.4 | 0.6 | 0.8 | 1.2 | 1.6 | 2.0 | 2.4 | 4.0 |
| 10 | 5.0 | 0.1 | 0.3 | 0.4 | 0.5 | 0.8 | 1.0 | 1.3 | 1.6 | 2.5 |

* - when collimating tip is used spot diameter is 0.2 cm despite the distance to irradiated surface

- 24 -

the size of affected focus. It is reasonable to combine laser therapy and drug therapy using effect of laser photophoresis. For that purpose medication is spread over a wound surface before laser session.

Irradiation parameters:

- power density 5 (100 mW/cm2;

- specific dose 3 ( 6 J/cm2;

that corresponds to laser irradiation at 60 mW (modulation frequency is 50 (100 Hz) via tip K300 with the exposure of 1 -2 minutes per a field.

Total irradiation time should not exceed 20 minutes per a session. Procedures are carried out daily or every other day. Course of treatment — up to 14 procedures.

8.2. Surgical stomatology.

8.2.1. Alveolitis.

Indications for laser therapy are inflammatory changes in a socket after tooth extraction.

After clot removal and tooth socket irrigation the latter as well as surrounding tissues from the oral and vestibular side of a jaw are irradiated.

Irradiation parameters:

- power density 50 (100 mW/cm2 for irradiation of socket cavity, 30 ( 50 mW/cm2 for irradiation alveolar process region;

- specific dose 3  ( 6 J/cm2 for irradiation of socket cavity, 1.5 ( 3 J/cm2 for irradiation alveolar process region;

that corresponds to laser irradiation at 80 mW (modulation frequency is 50 (100 Hz) via tip T390 for irradiation socket cavity with exposure of 1 -2 minutes; and to laser irradiation at 30 mW (modulation frequency - 50 ( 100 Hz) via tip K300 for irradiation gingiva with exposure of 1- 2 minutes per a field.

Total irradiation time should not exceed 10 minutes per a session. Procedures are carried out daily. Course of treatment — 3 ( 5 procedures.

- 13 -

apparatuses is regulated by "SQ and R" 2392-81.

The following kinds of danger may occur during operation with laser devices:

- electrical danger;

- laser irradiation.

Sources of danger:

- alternative current 220 V within electric circuits of control block supply and of apparatus' power source ;

- laser irradiation (direct, mirror reflection, diffuse reflection).

The "Soft-laser" devices and "AL-010" advantageously differ from He-Ne lasers because their irradiation in near IR-diapason does not cause damage to retina. That is explained by small energy of irradiation quantum insufficient to cause reaction of retinale cis-trans-isomerization and light perception (within the range of LPL equal to 5(10-8  W/cm2). As to electrical safety measures regulations these lasers should be treated as home electrical devices which do not demand special organizational conformation and undertakings except routine instructing on safety measures and control provided by safety measures engineer.

Taking into consideration that IR-irradiation is invisible it's necessary for a doctor to work out an automatic habit not to switch on the button "START" until the emitter is directed to an irradiated zone. The main requirement of safety precautions is not to aim direct laser irradiation (or fiber optic tip) toward an eye during a session.

The following operation mode seems to be physiologically correct when applying low-intensive lasers: 45-50 minutes of laser session are interrupted with 30-40 minutes for a break (activity that does not deal with laser irradiation, e.g. filling a chart in).

6. APPROACHES TO THE SELECTION OF OPTIMAL DOSES

In the past years considerable information has been accumulated on attempts to determine the optimal dose of LLI to achieve desirable biological effects when managing various pathologies (V.I. Kozlov et al, 1993; I.S. Panko et al, 1987; N.V. Mikhailov, 1985; V.I.

- 22 -

focus development — itching or burning sensation without other elements of herpetic process (papules and vesicles). At this stage laser therapy can stop further development of the disease and following appearing of pathologic skin elements. To achieve therapeutic effect it may be sufficient to carry out only 4-5 sessions of distant skin irradiation, it is possible to undertake sessions two times per day with an interval of 6 - 10 hours. If pathologic skin elements have already appeared by the beginning of treatment course, the process of their formation and regression after laser irradiation is less painful and significantly quicker: papules may not transform into vesicles (little blisters with serous contents); vesicular eruption regresses under laser irradiation with accelerated regeneration of affected tissues.

Irradiation should cover all lip surface affected by herpetic infection. In case of large affected areas irradiation is introduced from one field to field from periphery, including 1 cm of normal tissue, to the center. Liable mode is possible.

Irradiation parameters:

- power density 100 (200 mW/cm2;

- specific dose 10  ( 18 J/cm2;

that corresponds to laser irradiation at 30 mW via tips K30 or K1 with tip-to-target distance 0.5 cm with the exposure of 30 ( 60 seconds per a field (spot diameter on irradiated surface is 2.5 mm).

Irradiation may be modulated at 50 ( 100 Hz. In this case exposure should be increased up to 1 ( 2 minutes.

Total irradiation time should not exceed 10 minutes.

Number of procedures — up to 7.

8.1.8. Desquamative glossitis.

The choice of irradiation zone in management of glossitis depends upon localization of painful sensations: lateral, dorsal surfaces of the tongue, tip of the tongue etc. Usually scanning noncontact irradiation mode is used.

Irradiation parameters:

- power density 50 (100 mW/cm2;

- specific dose 8 ( 10 J/cm2;

- 15 -

COMMENTS:

I     - 	doses of laser irradiation stimulating cell proliferation activity, and used for stimulation of reflex reactions;

II    -	doses of laser irradiation providing therapeutic action on tissues and organs;

III  -		doses of laser irradiation causing dysfunctional and destructive changes in tissues and organs.

Taking into account data listed in Tables 4 and 5 a thoughtful specialist can use laser therapy for managing the overwhelming majority of the most common diseases by varying irradiation parameters depending on desirable therapeutic effect. The big "therapeutic range" - a variety of irradiation parameters producing similar therapeutic influence - allows the rational use of laser devices with different output power and, at the same time, simplifies the performing of the procedure permitting significant deviations of real irradiation parameters from calculated ones without any influence on therapeutic effect.

7. GENERAL RULES OF LASER THERAPY PROCEDURE PRESCRIPTION

7.1. Indications and contra-indications

Low-intensity laser therapy is indicated for treatment of various diseases, accompanied by inflammatory and degenerative-and-dystrophy processes in different tissues, by pain syndrome, by compromising of local circular-and-metabolic and immune-and-resistant organism functions, as well as for stimulation of regeneration and reparation of tissues damaged.

The contra-indications to laser therapy are oncologic diseases, benign tumors, inclined to progressing, and blood diseases.

7.2. Contact and non-contact techniques

Laser irradiation can be transmitted on an object both distantly, when a beam passes in an open space between the emitter/ radiator and the object, and by contact method - when emitter/ radiator or fiber is closely adjacent to skin surface.

- 20 -

Number of procedures — up to 15. Irradiation mode — contact, stable or liable.

In case of debilitated patients and leading disease reccurency local laser therapy is combined with course of transmucuos blood irradiation.

8.1.6. Stomatitis

Laser irradiation may be administrated separately or in combination with drug therapy. When managing stomatitis it is necessary to find out its ethiology and exclude oncologic diseases.

Irradiation mode — contact, stable. Irradiation is transmitted to a pathologic focus with the help of fiber optic instrument with a cylindrical diagram of scattering.

Irradiation parameters:

- power density 8  (12 mW/cm2;

- specific dose 0.05 J/cm2;

- that corresponds to laser irradiation at 30 mW via tip C1400 with the exposure of 15 seconds per a field. Irradiation mode — contact, stable.

The efficacy of laser irradiation may be increased by preliminary staining of mucous.

It is advisable to include into the complex therapy antiseptic mouthwashes, antiviral ointments application, polyvitamins (A, B1, B2, B6, C, E) in dosage appropriate to age, desensitizing, enveloping and keratoplastic remedies.

Hyperreactivity of pathologic process and hypertrophic gingivitis development is the specific character of stomatitis manifestation and management in children of early age.

Irradiation parameters:

- power density 10 (15 mW/cm2;

- specific dose 0.03 J/cm2;

that corresponds to laser irradiation at 5 mW via tip K140 with the exposure of 2 seconds per a field.

Total irradiation time should not exceed 2-5 minutes for a session. Procedures are carried out daily or every second day. Each course comprises 3 (14 sessions.

- 17 -

preparation distal part of tip K 1 is inserted into the cavity and laser irradiation is introduced.

Irradiation parameters:

- output power - 2 ( 5 mW (continuous or modulated with frequency 50  ( 100 Hz irradiation);

- exposure time - 30 ( 60 seconds per a cavity.

One to three courses of 5 daily procedures, depending upon carious process activity, are administrated to achieve cariostatic effect. Laser beam should de directed to a zone between equator and tooth neck on the vestibular and oral side.

Irradiation parameters:

- power density 20 (40 mW/cm2;

- specific dose 0.5 (1.0 J/cm2;

that corresponds to laser irradiation at 5 mW via tip K80 with exposure time 20 (30 sec per a field. Irradiation mode is contact and stable.

For caries prophylactics laser irradiation may be used separately or in combination with Ftorlak (Fluorine dental vanish), Vitaftor (fluorine donating drug), calcium preparations which significantly increases the efficacy of caries prophylactic measures for 60%, 40% and 30%, accordingly [5].

8.1.2. Pulpitis

The management of serous puplpitis with the biologic method is undertaken with tip K1 after tooth carious cavity preparation.
Parameters of pulp irradiation:

- out put power - 2 ( 5 mW (continuous or modulated with frequency 50 ( 100 Hz irradiation);

- exposure time - 30 ( 60 seconds per a cavity.

Repeated sessions are carried out 24 hours after temporary filling with Ca hydroxide taking out.

Course of treatment includes 2-3 sessions.

In case of favorable result the final root filling is undertaken. Chronic pulpitis with roentgenologic changes within dental apex needs 3 - 5 procedures of irradiation after appropriate  endodontic  root  canal

- 18 -

preparation. Laser irradiation should be introduced to vestibular fold at the site of affected tooth.

Parameters of alveolar process irradiation:

- power density 30 (50 mW/cm2;

- specific dose 0.2 (0.5 J/cm2;

that corresponds to laser irradiation at 5 or 30 mW via tips K80 or K300 correspondingly with the exposure of 15 ( 30 seconds per a field. Irradiation mode is contact and stable. The course includes 3-5 sessions.

8.1.3. Periodontitis

The management of acute periodontitis and chronic periodontitis exacerbation consists of evacuation of purulent exudate through a tooth canal or a wound after surgical intervention. Irradiation is introduced to vestibular fold at the site of affected tooth for 2 - 5 days depending upon severity of the disease.

In case of chronic periodontitis after endodontic preparation of dental root canal the latter is irradiated with tip K1 and K300.

Procedures are carried out every day.

Course includes 4-6 sessions.

Irradiation parameters are similar to that described in item 8.1.2.

Laser therapy may be associated with antiinflammatory drugs and sorbents.

8.1.4. Gingivitis

Laser therapy is performed after dental calculi or other traumatizing factors removal. Structures to be irradiated are interdental papillae and affected gingival mucosa. Both oral and vestibular surfaces are done.

Irradiation mode is contact, stable or liable.

While acute gingivitis antiinflammatory and analgesic irradiation parameters are administrated;

- power density 100 (200 mW/cm2;

- specific dose 8 (10 J/cm2;

It is reasonable to use modulation of irradiation by frequency 50 (100 Hz.

- 19 -

In this case exposure should be increased up to 1.5 ( 2 minutes. Total irradiation time for a session is no more than 25 minutes. Number of sessions is 2 ( 4.

One or two sessions result in pain resolution or reduction, liquidation of edema and inflammation manifestations. To accelerate interdental papillae healing stimulating parameters of irradiation are used:

- power density 1 (100 mW/cm2;

- specific dose 0.1 (2 J/cm2;

that corresponds to laser irradiation at 5 mW via tips K30 - K300 with the exposure of 20 seconds per a field. It is reasonable to use irradiation modulated at 10 Hz. In this case exposure should be increased up to 40 seconds.

Total irradiation time during a session does not exceed 10 ( 15 min.

Number of sessions is 5 - 10.

8.1.5. Parodontitis (paradontosis).

When indicated laser therapy is administrated after careful removal of dental decay and other traumatizing factors or following surgical interventions. It is advisable to combine drug and laser therapy using the effect of laser photophoresis - intensification of drug absorption or their deposition within tissues of pathologic focus due to the local stimulation of metabolic processes caused by laser irradiation.

Irradiation is directed to the region of interdental papillae and gingival margin on the vestibular and oral sides, and to the alveolar process within the region of a dental pocket.
Irradiation parameters:

- power density 50 (150 mW/cm2;

- specific dose 6 (8 J/cm2;

that corresponds to laser irradiation at 30 mW via tip K140 with the exposure of 1 ( 1.5 minutes per a field.

It is reasonable to use irradiation modulated at 10 Hz. In this case exposure should be increased up to 2 ( 3 minutes. Total irradiation time should not exceed 10 ( 15 minutes.

- 16 -

The distant (non-contact) technique is used for irradiation of skin, mucous membranes, ulcers, wounds, extensive reflexogenic zones, that is in that cases, when a large irradiation penetration depth isn't required.

In spite of this one can distinguish a stable technique (square of the surface irradiated is not big and a irradiation spot entirely covers it over), an applicative technique (square of the surface irradiated exceeds a spot size and irradiation is performed by successive laser "applications") and a scanning technique (irradiation of large squares by scanning shifts/ movements of the beam over the surface).

The contact technique is used for laser acupuncture carrying out, and in those cases, when it is necessary to get depth influence on internal organs, since in spite of this an intensity of laser light passing through tissues decreases by 20 times for He-Ne laser irradiation and by 3 times for IR-laser irradiation (I.N. Danilova et al, 1985; T. Ohshiro, G. Calderhead, 1988). Thus, with close contact the laser irradiation achieves all dermal, sub-dermal, nervous and vascular plexuses, as well as muscle layers and internal organs.

8. PARTICULAR METHODS OF LASER THERAPY

The methods given below are made in uniform style that is very comfortable for practical use. Irradiation parameters are expressed in two ways: the first one means specific dose (mW/cm2, J/cm2) and allows the application of these methods by doctors who do not have stomatological laser complexes of SIC “PETROLASER” and have the other laser apparatuses; the second one depicts laser device settings, advisable fiber optic instruments and irradiation time calculated with consideration of loss coefficients, that facilitates work and helps to avoid calculation for doctors who have SIC “PETROLASER” products.

8.1. Therapeutic stomatology

8.1.1. Dental caries

Laser irradiation is used to activate enzyme system of the pulp while managing initial, median and deep dental caries. After caries cavity

- 21 -

In case of recurred herpes stomatitis in exacerbation stage it is advisable to use anti-inflammatory and regeneration stimulating parameters of irradiation:

- power density 1 (100 mW/cm2;

- specific dose 0.1 ( 2 J/cm2;

- that corresponds to laser irradiation at 5 mW via tips K30-K300 with the exposure of 20 seconds per a field.

Total irradiation time should not exceed 5 ( 10 minutes for a session. Mode is contact, stable. Scanning method with irradiation of all affected surface is used for multiple eruption. Procedures are performed daily or every other day. Number of procedures should be determined by severity of clinical manifestations and should not exceed 10. If necessary repeated course is undertaken in a month.

Irradiation of recurred aphthous stomatitis is most effective in prodromal period or during at the first day of aphtha development.
Irradiation parameters:

- power density 100 (200 mW/cm2;

- specific dose 8 ( 10 J/cm2;

that corresponds to laser irradiation at 30 mW via tip K80 with the exposure of 50 seconds per a field (loss coefficient has been taken into consideration). It is reasonable to use irradiation modulated at 10 Hz. In this case exposure should be increased up to 1.5 ( 2 minutes.

Total irradiation time should not exceed 25 minutes. Irradiation mode — contact, stable.

In the developed stage of the disease the method meant for herpes stomatitis management is used (see above). In this case it is advisable to irradiate not only aphthae but, as well, reddened zones surrounding them.

In case of debilitated patients and patients with progredient destructive changes in oral cavity mucosa local laser therapy is combined with a course of transmucous blood irradiation.

8.1.7. Herpes labialis.

Laser therapy may be applied at any stage of the pathologic process. Laser irradiation is most effective at early stage of pathologic

- 14 -

Inyushin, P.R. Chekurov, 1975 etc.). One of the key moments of understanding of laser irradiation impact on an organism is reaction of microcirculation network on laser irradiation of different power density. Table 4 represents the scale illustrating these reactions.

TABLE 6

| Irradiati-on power density, mW/cm2 | 1-100 | 100-200 | 50-300 | >250 | >300 | >500 |
| --- | --- | --- | --- | --- | --- | --- |
| Reaction of micro-circulati-on system | Stimulati-on of new vessels develop-ment | Antihypo-xial action | Capillary blood flow activation | Increase of endo-thelial adhesi-vity | Microvessels Ato-nia and throm-bosis | Photodes-truction, thrombo-sis of mic-rovessels |

The majority of researchers believe that biostimulating levels of irradiation belong to the range of 10 ( 100 mW/cm2, and microcirculation improving, anti-inflammatory and analgesic parameters belong to the range of 100 ( 200 mW/cm2 (I.M. Arefjev et al, 1977; R.I. Mikhaylova et al, 1985).

Together with power density the value of energy density (dose) is of great importance. Table 5 demonstrates the specific character of organism reactions on different doses of laser irradiation (V.I. Kozlov et al, 1993).

TABLE 7

Specific character of organism reactions on different

doses of laser irradiation, J/cm2

| Power density | Exposure time |
| --- | --- |
| mW/cm2 | 1 sec | 10 sec | 1 min | 3 min | 5 min | 10 min |
| 1 | 0.001 | 0.01 | 0.06 | 0.2 | 0.3 | 0.6 |
| 5 | 0.005 | 0.05 | 0.3 | 0.9 | 1.5 | 3.0 |
| 10 | 0.01 | 0.1 | 0.6 | 1.8 | 3.0 | 6.0 |
| 20 | 0.02 | 0.2 | 1.2 | 3.6 | 6.0 | 12.0 |
| 50 | 0.05 | 0.5 | 3.0 | 9.0 | 15.0 | 30.0 |
| 100 | 0.1 | 1.0 | 6.0 | 18.0 | 30.0 | 60.0 |
|  | I | II | III |

- 23 -

that corresponds to laser irradiation at 30 mW via tip K30 with tip-to-pathologic focus surface distance 1 cm with exposure of 2 minutes.

Irradiation may be modulated at 50 ( 100 Hz, in this case exposure should be increased up to 4 minutes.

Symptoms of clinical improvement (reduction or resolution of burning, painful sensation) may be regarded as indication to stop irradiation procedures.

8.1.9. Multiformous exudative erythema.

Laser therapy applied to accelerate reparative processes may be administrated only after period of acute manifestations, i.e. temperature normalizing, intoxications signs resolution, and if there are no signs of secondary infection in the oral cavity. Irradiation mode is contact, stable.

Irradiation parameters:

- power density 1 (100 mW/cm2;

- specific dose 0.1 ( 3 J/cm2;

that corresponds to laser irradiation at 5 mW via tips K30-K300 with the exposure of 30 ( 120 seconds per a field (loss coefficient has been taken into consideration).

It is reasonable to modulate irradiation at 10 Hz. In this case exposure should be increased up to 1 ( 4 minutes. Total irradiation time should not exceed 25 minutes per a session. Number of procedures — up to 14. Irradiation mode is contact, stable.

In case of multiple and extensive erosions local laser therapy should be combined with the course of transmucous blood irradiation.

8.1.10. Traumas of oral cavity mucosa.

Therapeutical action of laser irradiation in case of oral mucosa injures caused by different factors, including chemical and thermal burnts, mechanic injures etc., is provided by its antiinflammatory and regeneration stimulating modess.

Irradiation of affected focus and adjacent tissues within 0.5 cm is performed after wound cleaning.

Irradiation mode is contact, stable  or  liable  depending  upon

- 12 -

TABLE 4

TABLE FOR CALCULATION

power density of laser irradiation W (mW/cm2) in contact mode depending upon laser out put power P (mW) and light tip type (tip loss coefficient Kloss=2 has been taken into account)

| Power density of laser irradiation W, mW/cm2 |
| --- |
| Tip type | Square Sn, cm2 | Power of laser irradiation P, mW |
| cm | cm | 5 | 10 | 15 | 20 | 30 | 40 | 50 | 60 | 100 |
| K1 | 0.0013 | 2000 | 4000 | 6000 | 8000 | 12000 | 16000 | 20000 | 24000 | 40000 |
| K30 | 0.03 | 83 | 166 | 249 | 332 | 498 | 664 | 830 | 996 | 1660 |
| K80 | 0.08 | 31 | 62 | 93 | 124 | 186 | 248 | 310 | 372 | 620 |
| K140 | 0.14 | 14 | 28 | 42 | 56 | 84 | 112 | 140 | 168 | 280 |
| K300 | 0.30 | 8 | 16 | 25 | 33 | 50 | 66 | 83 | 100 | 166 |
| T390 | 0.39 | 6 | 13 | 19 | 26 | 39 | 52 | 64 | 78 | 128 |
| T1570 | 1.57 | 1.6 | 3.2 | 4.8 | 6.4 | 9.6 | 12.8 | 16 | 19 | 32 |
| Ö1400 | 1.4 | 1.8 | 3.6 | 5.4 | 7.2 | 10.8 | 14.4 | 18 | 21.6 | 36 |

TABLE 5

TABLE FOR CALCULATION

exposure time per a field Tn, sec depending upon power density W, mW/cm2 and specific dosage of irradiation D, J/cm2

| Exposure time per a field Tn, sec |
| --- |
| Dosage D, | Power density of laser irradiation W, mW/cm2 |
| J/cm2 | 5 | 10 | 30 | 50 | 75 | 100 | 150 | 200 | 250 |
| 0.05 | 10 | 5 | 1.5 | 1 | - | - | - | - | - |
| 0.1 | 20 | 10 | 3 | 2 | 1.5 | 1 | - | - | - |
| 0.5 | 100 | 50 | 16 | 10 | 7.5 | 5 | 3.5 | 2.5 | 2 |
| 1 | 200 | 100 | 33 | 20 | 14 | 10 | 7 | 5 | 4 |
| 5 | - | - | 165 | 100 | 70 | 50 | 35 | 25 | 20 |
| 10 | - | - | 330 | 200 | 140 | 100 | 70 | 50 | 40 |
| 15 | - | - | - | 300 | 210 | 150 | 105 | 75 | 60 |
| 20 | - | - | - | - | 280 | 200 | 140 | 100 | 80 |
| 25 | - | - | - | - | - | 250 | 175 | 1125 | 100 |

5. SAFETY PRECAUTIONS DURING OPERATION

WITH LASER IRRADIATION

The  laser  apparatus used for  therapy belongs  to  the  third  class  of hygienic  laser  classification  (medical  lasers).  Use  of the  laser

- 25 -

8.2.2. Pericoronoritis.

In addition to generally accepted surgical interventions such as resection of all redundant tissues over the tooth crown it is advisable to use laser irradiation of two fields: along the jaw and from the inner side of Pirogov’s triangle surface. Irradiation mode is distant, liable or stable.

Irradiation parameters:

- power density 250 mW/cm2;

- specific dose 3-6 J/cm2,

that corresponds to laser irradiation at 100 mW (modulation frequency is 1500 Hz) via collimating tip with exposure of 1 - 2 minutes per a field with distance between irradiating tip and skin surface equal to 1 cm (spot diameter on the irradiated surface is 2 mm despite the distance to irradiated surface).

Reduction of inflammation, tissue edema and pain during palpation usually occurs after 2 - 3 sessions of laser therapy.

Procedures are performed daily, course of treatment includes 3 ( 5 procedures.

8.2.3. Sialadenitis.

Laser irradiation in management of sialadenitis may be used as a separate therapeutic method or as an element of complex anti-edematous, anti-inflammatory and analgesic therapy.

Irradiation is introduced to the most dense focus of affected gland. Large infiltrates are irradiated sequentially field by field. 
Irradiation parameters:

- power density 5 (10 mW/cm2  for transoral irradiation or 20 ( 40 mW/cm2  for external percutaneous irradiation;

- specific dose 1 ( 2 J/cm2 for transoral irradiation or 3 ( 5 J/cm2 for external percutaneous,

that corresponds to transoral laser irradiation at 30 mW via tip T1570 with the exposure of 1.3 ( 3 minutes per a field or to external laser irradiation at 30 mW via tip K30, K1 in distant mode along pathologic focus projection with distance between irradiating tip and skin surface equal to 1 cm with exposure of 1.5 ( 2 minutes.

According with salivation increase and inflammatory reaction reduction the dose and sequentially the exposure of irradiation are doubled.

- 10 -

4. DETERMINATION OF LASER IRRADIATION

POWER AND DOSAGE CALCULATION

Most of the up-to-date medical lasers have built-in powermeters, which permits to measure output power of laser irradiation with the sufficient significance ((10%).

Power density (intensity of irradiation) W is calculated as a ratio of power P and the square of irradiated surface S:

W=P/S, W/cm2

In case of distant mode of irradiation (emitter and fiber optic instrument do not contact with irradiated surface):

S= (D2/4,

where (  = 3.14, and D is the diameter of visible irradiation spot on a skin surface in cm; for infrared lasers emitting invisible irradiation the spot diameter is more difficult to evaluate. One should know characteristics of scattering indicatrix for a laser or have the special device to display laser irradiation. The problem is simplified greatly if you have tips of K1 type (irradiation is emitted through the end of monofiber). In this case spot diameter is equal to L/2, where L is the distance from irradiating tip to skin surface.

Density of energy (energy density, dose) on the skin surface is calculated as ratio of energy E delivered to irradiated object during a session and the square of irradiated surface, S (D=E/S) or by multiplication power density W and exposure time (duration of irradiation) T.

D=E/S=WT, J/cm2

Contact mode is one of the most frequently used method of irradiation in stomatology when fiber optic instrument has a full contact with a pathologic focus (see. Fig. 7.2.). In this case the area of irradiated surface S is completely determined by tip shape, that significantly simplifies dose calculation. It is necessary to take into consideration that application of any fiber optic instrument leads to inevitable up to 50% of output power loss of energy due to introduction of irradiation into a fiber, internal absorption and reflection of irradiation in the tips.

Usually practical recommendations contain parameters of irradiation intensity W expressed in mW/cm2 and of specific irradiation dosage D expressed  J/cm2. If one  knows  square irradiated  by a tip  Sn

CONTENTS

page

| 1. INTRODUCTION......................................................................... | .......3 |
| --- | --- |
| 2. THE MECHANISM OF BIOLOGICAL AND TREATMENT-AND STIMULATING LOW-INTENSIVE LASER IRRADIATION (LLI) INFLUENCE.................................................................................... | .......5 |
| 3. THE LASER APPARATUS........................................................ | .......8 |
| 4. DETERMINATION OF LASER IRRADIATION POWER AND DOSAGE CALCULATION.............................................................. | .....13 |
| 5. SAFETY PRECAUTIONS DURING OPERATION WITH LASER IRRADIATION.................................................................... | .....16 |
| 6. APPROACHES TO THE SELECTION OF OPTIMAL DOSES.. | .....17 |
| 7. GENERAL RULES OF LASER THERAPY PROCEDURE PRESCRIPTION.............................................................................. | .....19 |
| 7.1. Indications and contraindications................................ | .....19 |
| 7.2. Contact and non-contact techniques........................... | .....20 |
| 8. PARTICULAR METHODS OF LASER THERAPY.................... | .....20 |
| 8.1. Therapeutic stomatology............................................... | .....21 |
| 8.1.1. Dental caries......................................................... | .....21 |
| 8.1.2. Pulpitis.................................................................. | .....21 |
| 8.1.3. Periodontitis......................................................... | .....22 |
| 8.1.4. Gingivitis............................................................... | .....22 |
| 8.1.5. Parodontitis (parodontosis)................................ | .....23 |
| 8.1.6. Stomatitis.............................................................. | .....24 |
| 8.1.7. Herpes labialis...................................................... | .....26 |
| 8.1.8. Desquamative glossitis....................................... | .....27 |
| 8.1.9. Polyformous exudative erythema....................... | .....27 |
| 8.1.10. Traumas of oral cavity mucosa......................... | .....28 |
| 8.2. Surgical stomatology..................................................... | .....28 |
| 8.2.1. Alveolitis............................................................... | .....28 |
| 8.2.2. Pericoronoritis...................................................... | .....29 |
| 8.2.3. Sialadenitis........................................................... | .....30 |
| 8.2.4. Arthritis and arthrosis of temporomandibular joint.................................................................................. | .....30 |
| 8.2.5. Prophylactics of postoperative infectious and inflammatory complications.......................................... | .....31 |
| 8.3. Corporal methods of laser therapy in stomatologic practice............................................................................ | .....32 |
| 8.3.1. Transmucous blood irradiation.......................... | .....32 |
| 8.3.2. Laser reflexotherapy............................................ | .....34 |
| REFERENCES................................................................................ | .....35 |

- 29 -

affected areas and accessibility of oral mucosa.

To perform a procedure fiber optic tip with a toroidal or spherical indicatrix of irradiation scattering is positioned into sublingual region, after that laser irradiation is introduced.

Irradiation parameters:

- power density 10 (15 mW/cm2;

- specific dose 10  ( 15 J/cm2;

that corresponds to laser irradiation at 30 (60 mW (continuous mode) via tip T1570 with the exposure of 15 ( 20 minutes per a field.

Irradiation mode is contact, stable. Procedures are carried out daily. Course of treatment includes 5 procedures. Two - three sessions usually results in inflammation reduction, temperature normalization, wound cleaning of necrotic masses, granulations development, pain, edema and infiltration reduction within inflammatory zone. Terms of healing are reducing for 5 - 10 days.

8.3.2. Laser reflexotherpy.

Although laser reflexotherpy needs special training, in particular, the knowledge of biologically active points topography it can be successfully used by stomatologists for managing pain syndromes associating various pathology.

Most frequently used points are: SIAO-HI 8 IG, E-MAN 2 TR, TYAN-CHUAN 16 IG, VAN-LU 7 GI, TZYAO-SUN 20 TR, TZUI-TCHI 11 GI, YAN-GU 5 IG, TYAN-ZUN 17 IG, KHE-GU 4 GI, SYA-GUAN 7 E, TUN-TZI-LYAO 1 VB, TZU-SAN-LI 36 E, TCUN-YAN 42 E, DA-TCHUI 14 VG, NEI-TIN 44 E, LI-DUI 45 E, AT7.

At first it is necessary to determine the most active point among the set of those belonging to the zone of a concrete tooth. This is achieved by measuring the value of potential by electric voltmeter (B7-16 type). Having determined the most active point the latter is irradiated via the acupuncture tip with output power 2 (10 mW (thus, to compensate losses in the tip laser output power should be 4 (20 mW) with the exposure of 20 (40 seconds per a point.

Then some another active points should be found (also by evaluating potential and electroconductivity) and irradiated with the same parameters.

- 6 -

A. Urazaev et al. (1978) demonstrated that blood had the most expressed ability to absorb LLI energy. There is an opinion that blood is liquid-and-crystalline media, in which light induces various energy processes (V.Usoltzeva, 1981). Monochromatic red light provides direct and indirect impact on blood and organs of hemopoesis. In the first case red light, absorbed by porphyries may cause decomposition of old erythrocytes. The indirect action upon hemopoesis occurs due to activation of endocrine glands, first of all hypophysis and thyroid gland, which have direct influence on regulation of hemopoetic function (V. M. Inyushin, 1975).

There is a definite influence of LLI on the peripheral blood circulation. In particular B. Salishgereev (1983) proved in his experiments a stimulating effect of LLI on the collateral circulation development. That results in increase of tissue oxygen saturation up to appropriate level and satisfaction of tissue demand stimulated by LLI.

Rise of oxygen’s metabolism activity facilitates the acceleration of energy and plastic processes in a cell.

Thrombolytic action of low intensive laser irradiation should be also mentioned once microthrombosis is an important pathogenic factor of inflammation. A. Prokhonchukov (1986) finds it to be related both with blood flow improvement and thrombotic mass washing away and with anticoagulant system activation.

V. Inyushin (1970) confirmed in his study the increase of adrenal gland mass and reduction of lipoid contents in their cortex under influence of LLI.

Based on the described earlier biological mechanism of LLI influence upon cells and tissues of an organism, the treatment-and-stimulating effect of laser therapy is represented by the following:

- anti-inflammatory action of LLI is provided through the activation of endocrine system which is known to modulate inflammatory reactions together with regulation of local blood circulation, fibrinilysis amplification, and microcirculation and tissues perfusion amelioration;

- trophy stimulating and antidegeneration influence of LLI are associated with increase of oxygen related metabolism and increased ATP contents in a cell;

- 31 -

REFERENCES

- Arazashvili L.D. Management of chronic apical periodontitis with laser irradiation // Actual problems of endontology.-Moscow, 1990.-p.114-115 (in Russian).

- Bogatov V.V., Vibornov V.V. Management of pericoronaritis with laser irradiation // Questions of experimental and clinical stomatology.- Kharkov, 1990.- p.53-54 (in Russian).

- Britova A.A. Management of pulpitis with the light of helium-neon laser: Authors summary of Ph.D. dissertation.- Tashkent, 1979, p.3-9 (in Russian).

- Deryabin E.I., Kozminih Yu.V., Verganaev N.V. et al. Management of suppurative diseases of maxillo-facial regions with application of saprophytic microflora and low intensive IR-laser irradiation // Prophylactics and management of basic stomatologic diseases: Abstracts.- Izhevsk, 1992.- V.1, p.71-72 (in Russian).

- Epishev V.A., Yurkova S.P. Laser therapy in stomatology: Practical recommendations.- Tashkent, 1984, P.27 (in Russian).

- Zuev V.P., Ribalchenko G.N., Golovin S.M. Application of infrared laser irradiation for managing parodont and oral mucosa diseases.- Moscow: “Modern situation around problem of laser medical technique application in clinical practice” (Materials of science-practical conference), V.1, p.10-34 (in Russian).

- Zuev V.P., Ribalchenko G.N. Application of laser irradiation in complex treatment of patients with odontogenic inflammatory diseases of maxillo-facial region.-Moscow: ““Modern situation around problem of laser medical technique application in clinical practice” (Materials of science-practical conference), V.1, p.35-38 (in Russian).

- Illarionov V.E. Technique and methods of laser therapy procedures (Manual).-Moscow: Laser market, 1994, P.178 (in Russian).

- Kozlov V.I., Minenkov A.A., Builin V.A., Stupin I.V. Practical recommendations on laser therapy.-St. Petersburg, SIC “Galax”, 1995 (in Russian).

- Kruk A.S., Mostovnikov V.A., Khohlov I.V., Serduchenko N.S. Therapeutic efficacy of low intensive laser irradiation.- Minsk, Science and technique, 1986, P.227 (in Russian).

- 4 -

At present low-intensive laser irradiation (LLI) is used more than in 30 medical specialties for diagnostic and therapeutic purposes, one third of world laser production belongs to medical devices and apparatuses.

In the given manual basic questions are taken up concerned to a mechanism of biological and treatment-and-stimulating low-intensive laser irradiation (LLI) influence on a human organism; a review of laser apparatus used and its features are given; calculating formulae and tables for necessary irradiation parameters determination are listed, basic approaches to optimal LLI dosage selection; safety precautions, general rules of procedure prescription are stated. In the chapter "PARTICULAR TECHNIQUES OF LASER THERAPY" the references on practical use of LLI in stomatology are listed.

The offered manual is a result of analysis and compilation of literature data big amount. The authors do not pretend their work to have any scientific novelty but rather to summarize in one edition various studies of different researches and offer to stomatologists an effective and simple method for practical application.

The authors hope that the manual may help stomatologists to master the methods of laser therapy and to increase the efficacy of their work.

2. THE MECHANISM OF BIOLOGICAL AND TREATMENT-AND-STIMULATING LOW-INTENSIVE LASER IRRADIATION (LLI) INFLUENCE

By its nature, laser irradiation like a light relates to electrical magnetic oscillations of optical range, between ultraviolet and infrared.

A laser is a technical device, emitting a coherent polarized monochromatic electromagnetic irradiation as a directed beam of light in a very narrow spectrum range.

One of the most important laser irradiation features is its spectral characteristics or wavelength, measured in nanometers or micrometers (1 mcm=1000 nm). By their nature photobiological processes are different and specific enough. All of them are based on laser induced photophysical and photochemical reactions